## Generator
THE 2024 Off Island Capacity RFP
Capacity Offering Data Sheet
Shaded Cells are Input Cells. Complete all cells as applicable. If Not Applicable, indicate "N/A."
PROPOSAL ID: | Reserved for LIPA Use
Date Submitted
Merchant Amount in % of Project Capability
Equipment (Prime Mover Type(s), Model and OEM)
Plant Configuration (e.g. Number of Units)
Primary Fuel Type
Secondary Fuel Type (if applcable)
Plant Characteristics
Guaranteed Equivalent Availability (as per CPA)
Maximum Rating (MW) at ISO Conditions
Sustained Rating (MW) at ISO Conditions
Minimum Rating (MW) at ISO Conditions
Minimum Down Time (Hrs)
Minimum Run Time (Hrs)
Start-up Time (Min) Cold Start1
Start-up Time (Min) Warm Start1
Start-up Time (Min) Hot Start1
Ramp rate (MW/Minute)
At what power output level can plant switch to secondary fuel and back?
1 Respondent to define conditions
Unit Operating Set Points - Complete Tables for Each Fuel Type (i.e Primary/Gas Fuel, Secondary/Liquid Fuel)
| Generating |  | Fuel: | Primary
Unit Operating Set Points - Summer 93F | Net Output (MW) | Net Plant Heat Rate (BTU/kwh) | NOx (lb/MMBtu) | CO (lb/MMBtu) | SO2 (lb/MMBtu)
Full Load 93F (100%)
Load 93F (___%)
Load 93F (___%)
Load 93F (___%)
Load 93F (___%)
Minimum Load 93F
Unit Operating Set Points - Winter 22F | Net Output (MW) | Net Plant Heat Rate (BTU/kWh) | NOx (lb/MMBtu) | CO (lb/MMBtu) | SO2 (lb/MMBtu)
Full Load 22F (100%)
Load 22F (___%)
Load 22F (___%)
Load 22F (___%)
Load 22F (___%)
Minimum Load 22F
Unit Operating Set Points - ISO Conditions | Net Output (MW) | Net Plant Heat Rate (BTU/kwh) | NOx (lb/MMBtu) | CO (lb/MMBtu) | SO2 (lb/MMBtu)
Full Load ISO (100%)
Load ISO (___%)
Load ISO (___%)
Load ISO (___%)
Load ISO (___%)
Minimum Load ISO
| Generating |  | Fuel: | Secondary
Unit Operating Set Points - Summer 93F | Net Output (MW) | Net Plant Heat Rate (BTU/kWh) | NOx (lb/MMBtu) | CO (lb/MMBtu) | SO2 (lb/MMBtu)
Full Load 93F (100%)
Load 93F (___%)
Load 93F (___%)
Load 93F (___%)
Load 93F (___%)
Minimum Load 93F
Unit Operating Set Points - Winter 22F | Net Output (MW) | Net Plant Heat Rate (BTU/kWh) | NOx (lb/MMBtu) | CO (lb/MMBtu) | SO2 (lb/MMBtu)
Full Load 22F (100%)
Load 22F (___%)
Load 22F (___%)
Load 22F (___%)
Load 22F (___%)
Minimum Load 22F
Unit Operating Set Points - ISO Conditions | Net Output (MW) | Net Plant Heat Rate (BTU/kwh) | NOx (lb/MMBtu) | CO (lb/MMBtu) | SO2 (lb/MMBtu)
Full Load ISO (100%)
Load ISO (___%)
Load ISO (___%)
Load ISO (___%)
Load ISO (___%)
Minimum Load ISO
Liquid Fuel
Liquid Storage Capacity (000's gallons and equivalent full load run hours)
On-site
Off-site
Maximum Starts per Year on Liquid Fuel (Permittable)
Maximum Hours of Operation per Year on Liquid Fuel (Permittable)
Maintenance Schedule
Contract Year | Planned Outages |  | MW of Capacity out of Service
| Month (s) | Hours | MW
1
2