## Generator
THE 2015 PSEG LONG ISLAND South Fork Resources (“RFP” or “2015 SF RFP”)
PEAKING GENERATION DATASHEET
Shaded Cells are Input Cells. Complete all cells as applicable. If Not Applicable, indicate "N/A."
PROPOSAL ID: | Reserved for LIPA Use
Date Submitted
Physical Location (Street Address or Section / Block / Lot )
Point of Electric Interconnect with LIPA
Natural Gas Pipeline Connection - if applicable (KEDLI, Transco, etc.)
COD Target Date
Merchant Amount in % of Project Capability
Equipment (Prime Mover Type(s), Model and OEM)
Plant Configuration (e.g. Number of Units)
Primary Fuel Type
Secondary Fuel Type (if applcable)
Plant Characteristics
Guaranteed Equivalent Availability (as per PPA)
Maximum Rating (MW) at ISO Conditions
Sustained Rating (MW) at ISO Conditions
Minimum Rating (MW) at ISO Conditions
Minimum Down Time (Hrs)
Minimum Run Time (Hrs)
Start-up Time (Min) Cold Start1
Start-up Time (Min) Warm Start1
Start-up Time (Min) Hot Start1
Ramp rate (MW/Minute)
At what power output level can plant switch to secondary fuel and back?
1 Respondent to define conditions
Ancillary Service Capability
| Value |  | Real and Reactive Power Capability at 93F
10-Minute Spinning Reserve (MW) |  |  | Power Factor | MW | MVAR
30-Minute Spinning Reserve (MW) |  |  | 0.70 lagging
10-Minute Non-Synchronized Reserve (MW) |  |  | 0.85 lagging
30-Minute Non-Synchronized Reserve (MW) |  |  | 0.90 lagging
Regulation Capacity (MW/min) |  |  | 0.90 leading
Reactive Power (MVAr) at Maximum MW |  |  | 0.85 leading
Maximum Reactive Power Output (MVAr) |  |  | 0.70 leading
Associated MW Output
Black Start Capability (Yes / No)
Unit Operating Set Points - Complete Tables for Each Fuel Type (i.e Primary/Gas Fuel, Secondary/Liquid Fuel)
| Generating |  | Fuel: | Primary
Unit Operating Set Points - Summer 93F | Net Output (MW) | Net Plant Heat Rate (BTU/kwh) | NOx (lb/MMBtu) | CO (lb/MMBtu) | SO2 (lb/MMBtu)
Full Load 93F (100%)
Load 93F (___%)
Load 93F (___%)
Load 93F (___%)
Load 93F (___%)
Minimum Load 93F
Unit Operating Set Points - Winter 22F | Net Output (MW) | Net Plant Heat Rate (BTU/kWh) | NOx (lb/MMBtu) | CO (lb/MMBtu) | SO2 (lb/MMBtu)
Full Load 22F (100%)
Load 22F (___%)
Load 22F (___%)
Load 22F (___%)
Load 22F (___%)
Minimum Load 22F
Unit Operating Set Points - ISO Conditions | Net Output (MW) | Net Plant Heat Rate (BTU/kwh) | NOx (lb/MMBtu) | CO (lb/MMBtu) | SO2 (lb/MMBtu)
Full Load ISO (100%)
Load ISO (___%)
Load ISO (___%)
Load ISO (___%)
Load ISO (___%)
Minimum Load ISO
| Generating |  | Fuel: | Secondary
Unit Operating Set Points - Summer 93F | Net Output (MW) | Net Plant Heat Rate (BTU/kWh) | NOx (lb/MMBtu) | CO (lb/MMBtu) | SO2 (lb/MMBtu)
Full Load 93F (100%)
Load 93F (___%)
Load 93F (___%)
Load 93F (___%)
Load 93F (___%)
Minimum Load 93F
Unit Operating Set Points - Winter 22F | Net Output (MW) | Net Plant Heat Rate (BTU/kWh) | NOx (lb/MMBtu) | CO (lb/MMBtu) | SO2 (lb/MMBtu)
Full Load 22F (100%)
Load 22F (___%)
Load 22F (___%)
Load 22F (___%)
Load 22F (___%)
Minimum Load 22F
Unit Operating Set Points - ISO Conditions | Net Output (MW) | Net Plant Heat Rate (BTU/kwh) | NOx (lb/MMBtu) | CO (lb/MMBtu) | SO2 (lb/MMBtu)
Full Load ISO (100%)
Load ISO (___%)
Load ISO (___%)
Load ISO (___%)
Load ISO (___%)
Minimum Load ISO
Unit Operating Set Points - ISO Conditions (Continued) | Net Output (MW) | CO2 (lb / MWh) | PM 10/2.5 | VOC (ppm) | NH3 (ppm)
Full Load ISO (100%)
Load ISO (___%)
Load ISO (___%)
Load ISO (___%)
Load ISO (___%)
Minimum Load ISO
Water Requirements | Gallons per Minute
Water Inlet Requirements
Waste Water Discharge
Liquid Fuel
Source of liquid fuel supply
Proposed Liquid Fuel Transportation Method
Liquid Storage Capacity (000's gallons and equivalent full load run hours)
On-site
Off-site
Maximum Starts per Year on Liquid Fuel (Permittable)
Maximum Hours of Operation per Year on Liquid Fuel (Permittable)
Maintenance Schedule
Contract Year | Planned Outages |  | MW of Capacity out of Service
| Month (s) | Hours | MW
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20